## Sheet1
year | value | region | tech | units | variable | type | money | money year | source
2010 | 2571.3752 | World | BESS | KWh | capex | historic | USD | 2025 | IRENA 2024
2011 | 2131.556 | World | BESS | KWh | capex | historic | USD | 2025 | IRENA 2024
2012 | 2010.2175 | World | BESS | KWh | capex | historic | USD | 2025 | IRENA 2024
2013 | 1654.9654 | World | BESS | KWh | capex | historic | USD | 2025 | IRENA 2024
2014 | 1741.6324 | World | BESS | KWh | capex | historic | USD | 2025 | IRENA 2024
2015 | 1544 | World | BESS | KWh | capex | historic | USD | 2025 | IRENA 2024
2016 | 1102 | World | BESS | KWh | capex | historic | USD | 2025 | IRENA 2024
2017 | 789.6881 | World | BESS | KWh | capex | historic | USD | 2025 | IRENA 2024
2018 | 710.7194 | World | BESS | KWh | capex | historic | USD | 2025 | IRENA 2024
2019 | 333.0806 | World | BESS | KWh | capex | historic | USD | 2025 | IRENA 2024
2020 | 299.8793 | World | BESS | KWh | capex | historic | USD | 2025 | IRENA 2024
2021 | 281.8362 | World | BESS | KWh | capex | historic | USD | 2025 | IRENA 2024
2022 | 357.0255 | World | BESS | KWh | capex | historic | USD | 2025 | IRENA 2024
2023 | 271.8039 | World | BESS | KWh | capex | historic | USD | 2025 | IRENA 2024
2024 | 191.5866 | World | BESS | KWh | capex | historic | USD | 2025 | IRENA 2024
2010 | 5282.5052 | World | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2011 | 4658.5269 | World | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2012 | 3537.2651 | World | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2013 | 3107.2982 | World | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2014 | 2849.3878 | World | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2015 | 2140.3739 | World | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2016 | 1958.4438 | World | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2017 | 1683.2328 | World | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2018 | 1438.4863 | World | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2019 | 1188.2319 | World | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2020 | 1043.7767 | World | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2021 | 972.771 | World | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2022 | 929.7125 | World | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2023 | 775.7347 | World | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2024 | 690.8969 | World | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2010 | 15.7653 | World | Coal | MWh_th | fuel | historic | USD | 2025 | FRED
2011 | 19.5604 | World | Coal | MWh_th | fuel | historic | USD | 2025 | FRED
2012 | 14.9261 | World | Coal | MWh_th | fuel | historic | USD | 2025 | FRED
2013 | 13.2316 | World | Coal | MWh_th | fuel | historic | USD | 2025 | FRED
2014 | 11.2345 | World | Coal | MWh_th | fuel | historic | USD | 2025 | FRED
2015 | 9.3904 | World | Coal | MWh_th | fuel | historic | USD | 2025 | FRED
2016 | 10.3124 | World | Coal | MWh_th | fuel | historic | USD | 2025 | FRED
2017 | 14.1203 | World | Coal | MWh_th | fuel | historic | USD | 2025 | FRED
2018 | 16.9707 | World | Coal | MWh_th | fuel | historic | USD | 2025 | FRED
2019 | 12.0556 | World | Coal | MWh_th | fuel | historic | USD | 2025 | FRED
2020 | 9.1749 | World | Coal | MWh_th | fuel | historic | USD | 2025 | FRED
2021 | 21.4476 | World | Coal | MWh_th | fuel | historic | USD | 2025 | FRED
2022 | 54.7142 | World | Coal | MWh_th | fuel | historic | USD | 2025 | FRED
2023 | 28.2725 | World | Coal | MWh_th | fuel | historic | USD | 2025 | FRED
2024 | 21.3103 | World | Coal | MWh_th | fuel | historic | USD | 2025 | FRED
2025 | 16.2169 | World | Coal | MWh_th | fuel | historic | USD | 2025 | FRED
2023 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2024 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2025 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2026 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2027 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2028 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2029 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2030 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2031 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2032 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2033 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2034 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2035 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2036 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2037 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2038 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2039 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2040 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2041 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2042 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2043 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2044 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2045 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2046 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2047 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2048 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2049 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2050 | 2087.82 | North America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2023 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2024 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2025 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2026 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2027 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2028 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2029 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2030 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2031 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2032 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2033 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2034 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2035 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2036 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2037 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2038 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2039 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2040 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2041 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2042 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2043 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2044 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2045 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2046 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2047 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2048 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2049 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2050 | 1767.28 | Latin America | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2023 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2024 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2025 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2026 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2027 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2028 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2029 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2030 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2031 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2032 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2033 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2034 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2035 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2036 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2037 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2038 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2039 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2040 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2041 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2042 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2043 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2044 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2045 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2046 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2047 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2048 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2049 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2050 | 2294.52 | Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2023 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2024 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2025 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2026 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2027 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2028 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2029 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2030 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2031 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2032 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2033 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2034 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2035 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2036 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2037 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2038 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2039 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2040 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2041 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2042 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2043 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2044 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2045 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2046 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2047 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2048 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2049 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2050 | 2095.48 | Sub-Saharan Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2023 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2024 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2025 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2026 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2027 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2028 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2029 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2030 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2031 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2032 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2033 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2034 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2035 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2036 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2037 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2038 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2039 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2040 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2041 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2042 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2043 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2044 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2045 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2046 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2047 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2048 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2049 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2050 | 2285.99 | Middle East & Africa | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2023 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2024 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2025 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2026 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2027 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2028 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2029 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2030 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2031 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2032 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2033 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2034 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2035 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2036 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2037 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2038 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2039 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2040 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2041 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2042 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2043 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2044 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2045 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2046 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2047 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2048 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2049 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2050 | 1856.99 | Non-EU Europe | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2023 | 661.05 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2024 | 661.05 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2025 | 661.05 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2026 | 661.05 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2027 | 661.05 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2028 | 661.05 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2029 | 661.05 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2030 | 661.05 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2031 | 661.06 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2032 | 661.06 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2033 | 661.06 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2034 | 661.06 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2035 | 661.06 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2036 | 661.07 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2037 | 661.07 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2038 | 661.07 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2039 | 661.07 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2040 | 661.06 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2041 | 661.06 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2042 | 661.06 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2043 | 661.06 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2044 | 661.05 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2045 | 661.05 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2046 | 661.05 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2047 | 661.04 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2048 | 661.04 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2049 | 661.03 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2050 | 661.03 | China | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2023 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2024 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2025 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2026 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2027 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2028 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2029 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2030 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2031 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2032 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2033 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2034 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2035 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2036 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2037 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2038 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2039 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2040 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2041 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2042 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2043 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2044 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2045 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2046 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2047 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2048 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2049 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2050 | 893.58 | India | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2023 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2024 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2025 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2026 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2027 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2028 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2029 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2030 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2031 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2032 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2033 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2034 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2035 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2036 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2037 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2038 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2039 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2040 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2041 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2042 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2043 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2044 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2045 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2046 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2047 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2048 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2049 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2050 | 1468.45 | South East Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2023 | 1690.31 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2024 | 1690.31 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2025 | 1690.31 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2026 | 1690.31 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2027 | 1690.31 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2028 | 1690.31 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2029 | 1690.31 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2030 | 1690.31 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2031 | 1690.31 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2032 | 1690.31 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2033 | 1690.31 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2034 | 1690.31 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2035 | 1690.31 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2036 | 1690.31 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2037 | 1690.31 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2038 | 1690.31 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2039 | 1690.31 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2040 | 1690.31 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2041 | 1690.31 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2042 | 1690.31 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2043 | 1690.3 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2044 | 1690.3 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2045 | 1690.3 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2046 | 1690.3 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2047 | 1690.3 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2048 | 1690.3 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2049 | 1690.3 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2050 | 1690.3 | Other Pacific Asia | Coal | kW | capex | projection | USD | 2025 | DNV ETO 2024
2023 | 1412.62 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2024 | 1412.62 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2025 | 1412.62 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2026 | 1412.62 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2027 | 1412.62 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2028 | 1412.62 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2029 | 1412.62 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2030 | 1412.62 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2031 | 1412.62 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2032 | 1412.62 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2033 | 1412.62 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2034 | 1412.62 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2035 | 1412.62 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2036 | 1412.62 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2037 | 1412.62 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2038 | 1412.62 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2039 | 1412.62 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2040 | 1412.61 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2041 | 1412.61 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2042 | 1412.61 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2043 | 1412.61 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2044 | 1412.61 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2045 | 1412.61 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2046 | 1412.61 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2047 | 1412.61 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2048 | 1412.61 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2049 | 1412.61 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2050 | 1412.61 | North America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2023 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2024 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2025 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2026 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2027 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2028 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2029 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2030 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2031 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2032 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2033 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2034 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2035 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2036 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2037 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2038 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2039 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2040 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2041 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2042 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2043 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2044 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2045 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2046 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2047 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2048 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2049 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2050 | 1059.69 | Latin America | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2023 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2024 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2025 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2026 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2027 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2028 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2029 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2030 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2031 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2032 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2033 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2034 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2035 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2036 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2037 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2038 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2039 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2040 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2041 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2042 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2043 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2044 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2045 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2046 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2047 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2048 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2049 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2050 | 1023.18 | Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2023 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2024 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2025 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2026 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2027 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2028 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2029 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2030 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2031 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2032 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2033 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2034 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2035 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2036 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2037 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2038 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2039 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2040 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2041 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2042 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2043 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2044 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2045 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2046 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2047 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2048 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2049 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2050 | 1810.21 | Sub-Saharan Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2023 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2024 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2025 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2026 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2027 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2028 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2029 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2030 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2031 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2032 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2033 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2034 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2035 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2036 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2037 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2038 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2039 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2040 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2041 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2042 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2043 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2044 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2045 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2046 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2047 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2048 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2049 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2050 | 977.14 | Middle East & Africa | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2023 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2024 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2025 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2026 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2027 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2028 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2029 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2030 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2031 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2032 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2033 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2034 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2035 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2036 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2037 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2038 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2039 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2040 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2041 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2042 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2043 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2044 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2045 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2046 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2047 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2048 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2049 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2050 | 1005.29 | Non-EU Europe | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2023 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2024 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2025 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2026 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2027 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2028 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2029 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2030 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2031 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2032 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2033 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2034 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2035 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2036 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2037 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2038 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2039 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2040 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2041 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2042 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2043 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2044 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2045 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2046 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2047 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2048 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2049 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2050 | 635.43 | China | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2023 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2024 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2025 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2026 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2027 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2028 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2029 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2030 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2031 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2032 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2033 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2034 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2035 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2036 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2037 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2038 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2039 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2040 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2041 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2042 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2043 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2044 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2045 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2046 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2047 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2048 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2049 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2050 | 750 | India | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2023 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2024 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2025 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2026 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2027 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2028 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2029 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2030 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2031 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2032 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2033 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2034 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2035 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2036 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2037 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2038 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2039 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2040 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2041 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2042 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2043 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2044 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2045 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2046 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2047 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2048 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2049 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2050 | 942.54 | South East Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2023 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2024 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2025 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2026 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2027 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2028 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2029 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2030 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2031 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2032 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2033 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2034 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2035 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2036 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2037 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2038 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2039 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2040 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2041 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2042 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2043 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2044 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2045 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2046 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2047 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2048 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2049 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2050 | 1355.17 | Other Pacific Asia | Gas | kW | capex | projection | USD | 2025 | DNV ETO 2024
2026 | 33.615 | Netherlands | Gas | MWh_th | fuel | projection | USD | 2025 | TTF futures
2027 | 31.428 | Netherlands | Gas | MWh_th | fuel | projection | USD | 2025 | TTF futures
2028 | 28.539 | Netherlands | Gas | MWh_th | fuel | projection | USD | 2025 | TTF futures
2029 | 26.568 | Netherlands | Gas | MWh_th | fuel | projection | USD | 2025 | TTF futures
2030 | 25.812 | Netherlands | Gas | MWh_th | fuel | projection | USD | 2025 | TTF futures
2026 | 13.669 | North America | Gas | MWh_th | fuel | projection | USD | 2025 | Henry hub futures
2027 | 13.6315 | North America | Gas | MWh_th | fuel | projection | USD | 2025 | Henry hub futures
2028 | 13.0412 | North America | Gas | MWh_th | fuel | projection | USD | 2025 | Henry hub futures
2029 | 12.3485 | North America | Gas | MWh_th | fuel | projection | USD | 2025 | Henry hub futures
2030 | 12.1711 | North America | Gas | MWh_th | fuel | projection | USD | 2025 | Henry hub futures
2031 | 11.8333 | North America | Gas | MWh_th | fuel | projection | USD | 2025 | Henry hub futures
2032 | 10.9871 | North America | Gas | MWh_th | fuel | projection | USD | 2025 | Henry hub futures
2033 | 10.837 | North America | Gas | MWh_th | fuel | projection | USD | 2025 | Henry hub futures
2034 | 11.1884 | North America | Gas | MWh_th | fuel | projection | USD | 2025 | Henry hub futures
2035 | 11.5194 | North America | Gas | MWh_th | fuel | projection | USD | 2025 | Henry hub futures
2036 | 11.7924 | North America | Gas | MWh_th | fuel | projection | USD | 2025 | Henry hub futures
2037 | 11.7344 | North America | Gas | MWh_th | fuel | projection | USD | 2025 | Henry hub futures
2025 | 16.5 | Netherlands | Coal | MWh_th | fuel | historic | USD | 2025 | spot
2026 | 16.2 | Netherlands | Coal | MWh_th | fuel | projection | USD | 2025 | API forward
2027 | 16.05 | Netherlands | Coal | MWh_th | fuel | projection | USD | 2025 | API forward
2005 | 19.8152 | Netherlands | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2006 | 24.7617 | Netherlands | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2007 | 20.1201 | Netherlands | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2008 | 36.4202 | Netherlands | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2009 | 16.7689 | Netherlands | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2010 | 22.8112 | Netherlands | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2011 | 31.3323 | Netherlands | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2012 | 31.9549 | Netherlands | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2013 | 35.8927 | Netherlands | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2014 | 27.6714 | Netherlands | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2015 | 22.0031 | Netherlands | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2016 | 15.4489 | Netherlands | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2017 | 19.4875 | Netherlands | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2018 | 26.894 | Netherlands | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2019 | 15.2149 | Netherlands | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2020 | 10.688 | Netherlands | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2021 | 53.4463 | Netherlands | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2022 | 126.5587 | Netherlands | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2023 | 43.8933 | Netherlands | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2024 | 37.1517 | Netherlands | Gas | MWh_th | fuel | historic | USD | 2025 | WID
1989 | 5.7887 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
1990 | 5.5897 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
1991 | 5.0722 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
1992 | 6.0446 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
1993 | 7.2359 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
1994 | 6.5507 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
1995 | 5.7546 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
1996 | 9.4052 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
1997 | 8.6148 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
1998 | 7.1108 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
1999 | 7.7306 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2000 | 14.4177 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2001 | 13.8804 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2002 | 11.3642 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2003 | 19.1914 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2004 | 19.9562 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2005 | 30.0396 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2006 | 22.997 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2007 | 23.6995 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2008 | 30.1699 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2009 | 13.3723 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2010 | 14.9409 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2011 | 13.6095 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2012 | 9.3744 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2013 | 12.6923 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2014 | 14.7953 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2015 | 8.8896 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2016 | 9.5997 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2017 | 10.11 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2018 | 10.631 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2019 | 8.5802 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2020 | 6.7759 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2021 | 13.0889 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2022 | 21.7554 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2023 | 8.6267 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2024 | 7.6609 | North America | Gas | MWh_th | fuel | historic | USD | 2025 | WID
1996 | 6.3663 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
1997 | 6.6766 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
1998 | 6.3625 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
1999 | 5.3875 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2000 | 9.2488 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2001 | 10.8313 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2002 | 8.0949 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2003 | 11.3663 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2004 | 15.2072 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2005 | 24.2536 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2006 | 25.5543 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2007 | 20.4162 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2008 | 36.3776 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2009 | 16.3485 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2010 | 22.2419 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2011 | 30.7141 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2012 | 32.1452 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2013 | 36.1564 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2014 | 28.0315 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2015 | 22.2596 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2016 | 15.8561 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2017 | 19.7132 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2018 | 27.2041 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2019 | 15.2278 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2020 | 10.8285 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2021 | 52.715 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2022 | 83.7597 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2023 | 41.9652 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2024 | 36.4694 | United Kingdom | Gas | MWh_th | fuel | historic | USD | 2025 | WID
2018 | 10.6688 | Australia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2019 | 8.1357 | Australia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2020 | 6.7118 | Australia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2021 | 12.4883 | Australia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2022 | 26.1736 | Australia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2023 | 15.5386 | Australia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2024 | 13.4115 | Australia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2010 | 8.882 | Colombia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2011 | 11.9592 | Colombia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2012 | 9.7531 | Colombia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2013 | 8.1269 | Colombia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2014 | 7.5376 | Colombia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2015 | 7.0957 | Colombia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2016 | 7.8934 | Colombia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2017 | 10.3124 | Colombia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2018 | 10.9135 | Colombia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2019 | 7.6887 | Colombia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2020 | 6.7738 | Colombia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2021 | 15.0589 | Colombia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2022 | 37.2551 | Colombia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2023 | 14.9801 | Colombia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2024 | 12.435 | Colombia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2019 | 7.5792 | Indonesia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2020 | 6.7827 | Indonesia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2021 | 14.2837 | Indonesia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2022 | 19.1473 | Indonesia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2023 | 12.6918 | Indonesia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2024 | 11.0273 | Indonesia | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2001 | 5.6535 | Japan | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2002 | 4.7212 | Japan | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2003 | 5.9419 | Japan | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2004 | 11.1324 | Japan | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2005 | 9.6935 | Japan | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2006 | 9.7826 | Japan | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2007 | 14.3379 | Japan | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2008 | 23.6816 | Japan | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2009 | 12.538 | Japan | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2010 | 16.2698 | Japan | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2011 | 18.9196 | Japan | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2012 | 15.0447 | Japan | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2013 | 13.5098 | Japan | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2014 | 11.4195 | Japan | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2015 | 9.0144 | Japan | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2016 | 10.7487 | Japan | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2017 | 14.4037 | Japan | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2018 | 16.91 | Japan | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2019 | 11.0353 | Japan | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2020 | 9.1547 | Japan | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2021 | 17.1878 | Japan | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2022 | 32.1849 | Japan | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2023 | 19.5373 | Japan | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2024 | 17.3085 | Japan | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
1987 | 4.695 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
1988 | 5.991 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
1989 | 6.312 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
1990 | 6.522 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
1991 | 6.42 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
1992 | 5.7795 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
1993 | 5.052 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
1994 | 5.577 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
1995 | 6.675 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
1996 | 6.1875 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
1997 | 5.838 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
1998 | 4.8 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
1999 | 4.3185 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2000 | 5.3985 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2001 | 5.8551 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2002 | 4.7474 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2003 | 6.5397 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2004 | 10.8202 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2005 | 9.0809 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2006 | 9.6162 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2007 | 13.3178 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2008 | 22.151 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2009 | 10.5583 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2010 | 13.8749 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2011 | 18.222 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2012 | 13.8749 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2013 | 12.2534 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2014 | 11.3071 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2015 | 8.5191 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2016 | 9.0128 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2017 | 12.6766 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2018 | 13.7741 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2019 | 9.025 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2020 | 7.5194 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2021 | 18.3903 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2022 | 43.6923 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2023 | 19.4306 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2024 | 16.8 | Northwest Europe | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2014 | 9.4206 | South Africa | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2015 | 7.1219 | South Africa | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2016 | 7.9565 | South Africa | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2017 | 10.7389 | South Africa | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2018 | 11.7044 | South Africa | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2019 | 8.3506 | South Africa | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2020 | 7.2445 | South Africa | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2021 | 14.4728 | South Africa | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2022 | 31.9489 | South Africa | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2023 | 14.9491 | South Africa | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2024 | 13.2609 | South Africa | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2000 | 4.1282 | South China | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2001 | 4.7676 | South China | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2002 | 4.9792 | South China | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2003 | 4.7617 | South China | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2004 | 6.4141 | South China | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2005 | 7.7012 | South China | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2006 | 8.0289 | South China | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2007 | 9.1842 | South China | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2008 | 15.7458 | South China | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2009 | 13.1793 | South China | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2010 | 16.5119 | South China | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2011 | 19.0903 | South China | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2012 | 16.7835 | South China | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2013 | 14.3128 | South China | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2014 | 12.6175 | South China | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2015 | 10.1298 | South China | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2016 | 10.7023 | South China | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2017 | 14.2085 | South China | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2018 | 14.917 | South China | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2019 | 5.2795 | South China | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2020 | 4.5957 | South China | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2021 | 18.7053 | South China | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2022 | 26.6666 | South China | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2023 | 18.0979 | South China | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2024 | 15.3 | South China | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
1990 | 4.7388 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
1991 | 4.3516 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
1992 | 4.2802 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
1993 | 4.4781 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
1994 | 4.7574 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
1995 | 4.051 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
1996 | 4.4793 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
1997 | 4.464 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
1998 | 4.6505 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
1999 | 4.6941 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2000 | 4.4857 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2001 | 7.5232 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2002 | 4.9797 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2003 | 5.7784 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2004 | 9.7353 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2005 | 10.5184 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2006 | 8.6725 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2007 | 7.46 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2008 | 17.6126 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2009 | 9.1102 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2010 | 10.1811 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2011 | 12.7132 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2012 | 10.0922 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2013 | 10.4576 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2014 | 10.0626 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2015 | 7.735 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2016 | 7.7172 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2017 | 9.5738 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2018 | 10.9266 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2019 | 8.5746 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2020 | 6.415 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2021 | 10.2807 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2022 | 23.635 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2023 | 11.0381 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2024 | 11.6505 | United States | Coal | MWh_th | fuel | historic | USD | 2025 | WID [2]
2010 | 8226 | Australia | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2011 | 8071 | Australia | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2012 | 5846 | Australia | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2013 | 3431 | Australia | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2014 | 3581 | Australia | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2015 | 2663 | Australia | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2016 | 2293 | Australia | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2017 | 2346 | Australia | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2018 | 1810 | Australia | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2019 | 1489 | Australia | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2020 | 1248 | Australia | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2021 | 1162 | Australia | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2022 | 980 | Australia | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2023 | 1012 | Australia | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2024 | 944 | Australia | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2011 | 7523 | Brazil | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2013 | 5117 | Brazil | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2014 | 6069 | Brazil | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2015 | 2498 | Brazil | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2016 | 2461 | Brazil | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2017 | 1975 | Brazil | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2018 | 1810 | Brazil | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2019 | 1495 | Brazil | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2020 | 1298 | Brazil | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2021 | 916 | Brazil | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2022 | 780 | Brazil | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2023 | 744 | Brazil | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2024 | 724 | Brazil | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2010 | 4291 | China | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2011 | 4031 | China | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2012 | 3275 | China | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2013 | 2521 | China | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2014 | 2100 | China | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2015 | 1623 | China | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2016 | 1469 | China | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2017 | 1378 | China | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2018 | 1047 | China | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2019 | 946 | China | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2020 | 766 | China | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2021 | 714 | China | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2022 | 759 | China | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2023 | 687 | China | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2024 | 591 | China | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2010 | 6515 | France | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2011 | 6650 | France | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2012 | 5890 | France | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2013 | 3865 | France | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2014 | 2821 | France | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2015 | 1857 | France | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2016 | 1572 | France | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2017 | 1476 | France | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2018 | 1279 | France | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2019 | 1166 | France | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2020 | 1113 | France | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2021 | 918 | France | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2022 | 1228 | France | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2023 | 978 | France | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2024 | 1104 | France | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2010 | 4412 | Germany | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2011 | 3509 | Germany | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2012 | 2788 | Germany | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2013 | 2386 | Germany | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2014 | 1906 | Germany | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2015 | 1524 | Germany | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2016 | 1384 | Germany | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2017 | 1327 | Germany | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2018 | 1326 | Germany | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2019 | 1070 | Germany | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2020 | 823 | Germany | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2021 | 788 | Germany | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2022 | 1057 | Germany | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2023 | 748 | Germany | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2024 | 593 | Germany | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2010 | 5628 | Greece | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2011 | 4373 | Greece | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2012 | 2618 | Greece | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2013 | 2354 | Greece | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2017 | 2362 | Greece | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2018 | 2165 | Greece | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2020 | 893 | Greece | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2021 | 826 | Greece | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2022 | 1245 | Greece | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2023 | 641 | Greece | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2024 | 566 | Greece | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2010 | 6016 | India | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2011 | 3706 | India | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2012 | 3251 | India | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2013 | 3347 | India | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2014 | 2271 | India | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2015 | 1548 | India | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2016 | 1332 | India | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2017 | 1328 | India | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2018 | 944 | India | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2019 | 736 | India | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2020 | 701 | India | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2021 | 670 | India | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2022 | 680 | India | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2023 | 728 | India | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2024 | 525 | India | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2010 | 6079 | Italy | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2011 | 5733 | Italy | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2012 | 3045 | Italy | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2013 | 2424 | Italy | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2014 | 2241 | Italy | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2017 | 1158 | Italy | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2018 | 1036 | Italy | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2019 | 989 | Italy | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2020 | 919 | Italy | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2021 | 892 | Italy | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2022 | 818 | Italy | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2023 | 841 | Italy | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2024 | 804 | Italy | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2011 | 6644 | Japan | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2012 | 4666 | Japan | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2013 | 3987 | Japan | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2014 | 3655 | Japan | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2015 | 2645 | Japan | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2016 | 2902 | Japan | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2017 | 2632 | Japan | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2018 | 2502 | Japan | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2019 | 2465 | Japan | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2020 | 2156 | Japan | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2021 | 1923 | Japan | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2022 | 2023 | Japan | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2023 | 1920 | Japan | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2024 | 1911 | Japan | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2016 | 1355 | Netherlands | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2017 | 1843 | Netherlands | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2018 | 1391 | Netherlands | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2019 | 1335 | Netherlands | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2020 | 1322 | Netherlands | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2021 | 1161 | Netherlands | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2022 | 1296 | Netherlands | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2023 | 771 | Netherlands | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2024 | 641 | Netherlands | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2020 | 1430 | Poland | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2021 | 879 | Poland | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2022 | 1114 | Poland | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2023 | 717 | Poland | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2024 | 872 | Poland | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2020 | 1117 | Republic of Korea | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2021 | 1068 | Republic of Korea | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2022 | 1420 | Republic of Korea | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2023 | 1234 | Republic of Korea | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2024 | 1262 | Republic of Korea | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2010 | 5564 | Spain | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2011 | 7013 | Spain | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2012 | 3628 | Spain | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2013 | 3171 | Spain | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2014 | 2633 | Spain | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2015 | 2491 | Spain | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2016 | 2458 | Spain | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2017 | 1883 | Spain | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2018 | 1579 | Spain | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2019 | 1491 | Spain | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2020 | 897 | Spain | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2021 | 927 | Spain | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2022 | 826 | Spain | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2023 | 687 | Spain | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2024 | 822 | Spain | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2011 | 3887 | Turkey | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2012 | 3201 | Turkey | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2013 | 2751 | Turkey | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2014 | 2758 | Turkey | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2015 | 1423 | Turkey | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2019 | 913 | Turkey | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2020 | 973 | Turkey | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2021 | 920 | Turkey | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2022 | 732 | Turkey | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2023 | 732 | Turkey | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2024 | 1033 | Turkey | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2010 | 5552 | United States | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2011 | 5343 | United States | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2012 | 5206 | United States | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2013 | 4197 | United States | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2014 | 3436 | United States | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2015 | 3062 | United States | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2016 | 2652 | United States | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2017 | 2230 | United States | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2018 | 1844 | United States | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2019 | 1453 | United States | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2020 | 1317 | United States | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2021 | 1233 | United States | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2022 | 1187 | United States | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2023 | 1135 | United States | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2024 | 1058 | United States | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2015 | 3437 | Africa | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2024 | 1093 | Africa | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2015 | 2612 | Central America and the Caribbean | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2024 | 1375 | Central America and the Caribbean | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2015 | 3438 | Eurasia | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2024 | 1030 | Eurasia | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2015 | 1759 | Europe | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2024 | 779 | Europe | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2015 | 2663 | Oceania | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2024 | 944 | Oceania | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2015 | 2652 | Other Asia | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2024 | 1133 | Other Asia | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2015 | 2642 | Other North America | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2024 | 1206 | Other North America | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2015 | 3202 | Other South America | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
2024 | 1048 | Other South America | Solar | kW | capex | historic | USD | 2025 | IRENA 2024
all | 41.9655 | World | Coal | kW/year | opex_f | projected | USD | 2025 | GNESTE
all | 4.2117 | World | Coal | MWh | opex_v | projected | USD | 2025 | GNESTE
all | 21.9372 | World | Gas | kW/year | opex_f | projected | USD | 2025 | GNESTE
all | 3.0906 | World | Gas | MWh | opex_v | projected | USD | 2025 | GNESTE
all | 6.71 | World | Solar | kW/year | opex_f | historic | USD | 2025 | IRENA 2024
2024 | 6.39 | World | Solar | kW/year | opex_f | historic | USD | 2025 | IRENA 2024